Introduction
- Openpiv is an open source code for python
- Calculation and visualization of velocity fields from PIV images
- Calculation can be influenced by a lot of user defined parameters
- Goal of this presentation: look at how different parameters influence the calculation by comparing the resulting velocity fields
- The results are purely qualitative to get an idea what each parameter does
- Overview of where each parameter influences the program

---
Overview over the data
- 100 PIV images of a jet flow
- Many parameters can be set to lots of values
- Comparison of the first image for different settings
- Example plot for the given settings
- Gathering of qualitative data

---
Different iterations
two iterations
one iteration
four iterations
three iterations

---
sig2noise method
peak2mean, threshold = 1.1
peak2peak, threshold = 1.1
peak2mean, threshold = 1.2
very sensitive parameter
Look at the data to get an
estimate of the threshold

---
Calculation time
- Comparison for circular/linear correlation and with or without sig2noise validation
- Calculation of 10 images

---
Correlation method
circular correlation
linear correlation
Velocity fields very similar
Linear correlation yields a higher average velocity
Circular correlation slightly faster when no sig2noise validation is done

---
Smoothing
smoothing, p = 5
no smoothing
smoothing, p = 1
Very sensitive parameter
No smoothing leads to large gradients
Too much smoothing erases substructures

---
Validation
std_threshold = 100
std_threshold = 0.5
max_U_disp = 2
max_U_disp = 10

---
Conclusion
- A lot of parameters are very sensitive
- Look at the data when setting parameters
- Set parameters according to your requirements
- Find your optimal settings before processing all the images